# Introduction

The pill slicer is an easy to use device that slices a pill into two. This device is intended for users that need to cut pills into two and have difficulty doing so without crushing the pill.

# Research

| Name | Image | Price | Link |
| --- | --- | --- | --- |
| Commercial |  |  |  |
| EZY DOSE Pill Cutter |  | 12.25 | Link |
| Pill Cutter |  | 8.99 | Link |
| DIY |  |  |  |
| DIY Multiple Pill Splitter |  | N/A | Link |
| Homemade Pill Splitter |  | N/A | Link |

# Requirements

## Goals

| G01 | Device must be able to easily slice a pill |
| --- | --- |

## Functional Requirements

| F01 | Device must use a replaceable slicing device |
| --- | --- |
| F02 | Device must be safe and difficult to injure yourself with. |

## Constraints

| C01 | Design must be entirely 3D printed |
| --- | --- |

# Conceptual Design

Initial design was found on myminifactory.com by user Aliaksei Petsiuk @apetsiuk - MyMiniFactory

# Prototyping

After inspecting the files for the first version, it was found that there was no blade or method of slicing the pill mentioned in the original device posting. A version was designed that uses a standard disposable safety razor blade.

# Testing

After the first print of the updated design, it was found that the overhangs were too steep for most printers, leading to poor surface quality.

# Detailed Design

A final version was designed with better overhangs that are more printable and reduced print time by an hour.

# Opportunities for Improvement

More safety features could be added in addition to the blade fence to improve the safety of the device.